Sciton Profile / 1064nm Nd:YAG Laser

PREOPERATIVE

Post signs, distribute glasses/goggles

Plug laser into electrical outlet

Attach foot pedal.

Turn on with key.

Assemble laser with accessories (scanner w/extended cooling, etc.)

Plug in chiller and set to desired temperature, attach to scanner.

Follow procedure sheet for hair reduction

Place laser in STANDBY when making changes.

INTRAOPERATIVE

Set power and mode per physician.

Press READY only when physician requests laser.

Press STANDBY to change power or mode.

Laser stays in STANDBY when not in use.

POST OPERATIVE

Record power, mode and total pulses used.

Reset counter.

Turn laser off.

Clean laser and accessories.

Store laser and accessories.

Return key to cabinet.

Return Laser Log Sheet to book.

Sciton ope.com